- Project Title:

IoT-Based Real-Time Water Quality Monitoring System

### * 1. Introduction:

Clean water is essential for health, agriculture, and industry. However, manual methods of water quality testing are time-consuming and not suitable for real-time monitoring. This project aims to develop a smart, IoT-enabled water quality monitoring system that continuously measures key parameters like pH, turbidity, temperature, and TDS (Total Dissolved Solids), and uploads the data to a cloud platform for live monitoring and alert generation.

### * 2. Objectives:

- To monitor water quality parameters in real time using sensors.

- To collect, analyze, and transmit data using IoT technology.

- To enable remote monitoring through a cloud-based dashboard.

- To send alerts when parameters go out of safe limits.

- To assist in pollution tracking and preventive action.

### * 3. System Architecture:

*Hardware Components:

- Microcontroller: ESP32 / Arduino with Wi-Fi

- Sensors:

  - pH Sensor

  - Turbidity Sensor

  - Temperature Sensor (DS18B20)

  - TDS Sensor

- Power Source: Rechargeable battery or solar panel

*Communication & Cloud:

- Wi-Fi or GSM module for connectivity

- Cloud Platform: ThingSpeak / Blynk / Firebase

- Mobile/Web Dashboard for real-time data visualization

*Features:

- Real-time parameter display

- Data logging and trend analysis

- SMS/Email alerts (via IFTTT or Twilio)

- Threshold configuration via dashboard

### * 4. Tools & Technologies:

| Component | Technology / Tool |
| --- | --- |
| Microcontroller | ESP32 / Arduino Uno |
| Sensors | Analog/digital pH, turbidity, TDS |
| Cloud Platform | ThingSpeak / Blynk / Firebase |
| Communication | Wi-Fi / GSM / MQTT Protocol |
| Programming | Arduino IDE, C/C++, Python (for dashboard or ML integration) |
| Data Analysis | MATLAB / Excel / Custom Web UI |

### 5. Applications:

- Drinking water quality monitoring

- Industrial wastewater discharge control

- Aquaculture and fisheries

- Agricultural water source evaluation

- Municipal water distribution systems

### * 6. Timeline (Tentative):

| Task | Duration |
| --- | --- |
| Requirement Gathering & Design | Week 1 |
| Sensor Calibration & Testing | Week 2–3 |
| IoT Circuit Design & Coding | Week 4–5 |
| Cloud Integration & Dashboard | Week 6–7 |
| Testing & Troubleshooting | Week 8–9 |
| Final Report & Presentation | Week 10 |

### *7. Expected Outcomes:

- A working IoT prototype that monitors water quality in real time.

- A cloud dashboard displaying live data with analytics.

- Alert mechanisms to detect pollution or unsafe water conditions.

- Scalability for deployment in smart cities or rural water supply systems.

### *8. Conclusion:

The proposed IoT-based water quality monitoring system offers a low-cost, scalable, and automated solution to a pressing environmental issue. It can play a crucial role in ensuring public health and sustainability through data-driven decisions and proactive measures.